## Sheet1
테이블명 | 필드명 | 필드설명 | English Field Name | Description in English |  | Has consistent values | Used for production
PLANT_SUN_INVERTER_DATA | SEQ |  | Sequence |  | For backend |  | No
PLANT_SUN_INVERTER_DATA | PLANT_IDX |  | Plant Index |  | No | ✔ | No
PLANT_SUN_INVERTER_DATA | POS | 위치정보: 산단+수용가코드+설치위치 | Location Information | Location information: Industrial complex + consumer code + installation location | No |  | No
PLANT_SUN_INVERTER_DATA | DEVICE_ID | 계측장비 | Device ID | Measuring equipment | No |  | No
PLANT_SUN_INVERTER_DATA | CHANNEL_CODE | 채널코드 | Channel Code | Channel code | No | ✔ | No
PLANT_SUN_INVERTER_DATA | C_INFO | power capacity (인버터 용량) | Power Capacity | Inverter capacity | No | ✔ | No
PLANT_SUN_INVERTER_DATA | FN | Fault number | Fault Number | Fault number | No |  | No
PLANT_SUN_INVERTER_DATA | V_PV | PV voltage (PV 전압) | PV Voltage | PV voltage | Yes |  | Yes
PLANT_SUN_INVERTER_DATA | A_PV | PV current (PV 전류) | PV Current | PV current | Yes |  | Yes
PLANT_SUN_INVERTER_DATA | W_PV | PV generated power (PV 발전량) | PV Generated Power | PV generated power | Yes |  | Yes
PLANT_SUN_INVERTER_DATA | V_LL_RS | RS 선간 전압 | RS Line Voltage | RS line voltage | Yes | ✔ | Yes
PLANT_SUN_INVERTER_DATA | V_LL_ST | ST 선간 전압 | ST Line Voltage | ST line voltage | Yes | ✔ | Yes
PLANT_SUN_INVERTER_DATA | V_LL_TR | TR 선간 전압 | TR Line Voltage | TR line voltage | Yes | ✔ | Yes
PLANT_SUN_INVERTER_DATA | A_R | R 상 전류 | R Phase Current | R phase current | Yes |  | Yes
PLANT_SUN_INVERTER_DATA | A_S | S 상 전류 | S Phase Current | S phase current | Yes |  | Yes
PLANT_SUN_INVERTER_DATA | A_T | T 상 전류 | T Phase Current | T phase current | Yes |  | Yes
PLANT_SUN_INVERTER_DATA | KW | generated power(인버터 출력전력) | Generated Power | Inverter output power | Yes |  | Yes
PLANT_SUN_INVERTER_DATA | KWH | total generated power(인버터 누적 발전량) | Total Generated Power | Total generated power by inverter | No |  | No
PLANT_SUN_INVERTER_DATA | HZ | 계통 주파수 | System Frequency | System frequency | Yes | ✔ | No
PLANT_SUN_INVERTER_DATA | SOLAR_H | 수평일사량(센서박스) | Horizontal Solar Radiation | Horizontal solar radiation (sensor box) | Yes |  | Yes
PLANT_SUN_INVERTER_DATA | SOLAR_V | 수직일사양(센서박스) | Vertical Solar Radiation | Vertical solar radiation (sensor box) | Yes |  | Yes
PLANT_SUN_INVERTER_DATA | T_M | 모듈온도(센서박스) | Module Temperature | Module temperature (sensor box) | Yes |  | Yes
PLANT_SUN_INVERTER_DATA | T_O | 외부온도(센서박스) | External Temperature | External temperature (sensor box) | Yes |  | Yes
PLANT_SUN_INVERTER_DATA | OP_STATUS | RUN/STOP (0/1) (인버터 동작상태) | Operation Status | Operation status (RUN/STOP (0/1)) | Maybe | ✔ | No
PLANT_SUN_INVERTER_DATA | P_INFO | phase (계통의 상, 1:단상, 3:삼상) | Phase Information | Grid phase (1: single-phase, 3: three-phase) | No | ✔ | No
PLANT_SUN_INVERTER_DATA | V_GRID_INFO | rated line voltage (계통 전압) | Rated Line Voltage | Rated grid voltage | Maybe | ✔ | No
PLANT_SUN_INVERTER_DATA | SYS_STATUS | line power loss (계통 상태) | System Status | Line power loss (system status) | Maybe | ✔ | No
PLANT_SUN_INVERTER_DATA | TIMESTAMP | 측정시간 | Measurement Time | Measurement time | Yes |  | Yes
WEATHER_CURRENT_DATA | NX | 기상청 NX 좌표 | KMA NX Coordinate | Korea Meteorological Administration NX coordinate | No |  | No
WEATHER_CURRENT_DATA | NY | 기상청 NY 좌표 | KMA NY Coordinate | Korea Meteorological Administration NY coordinate | No |  | No
WEATHER_CURRENT_DATA | T1H | 기온(C) | Temperature (C) | Temperature (Celsius) | Maybe |  | No
WEATHER_CURRENT_DATA | RN1 | 1시간 강수량(mm) | 1-Hour Rainfall (mm) | 1-hour rainfall (mm) | Maybe |  | No
WEATHER_CURRENT_DATA | UUU | 동서바람성분(m/s) | East-West Wind Component (m/s) | East-west wind component (m/s) | No |  | No
WEATHER_CURRENT_DATA | VVV | 남북바람성분(m/s) | North-South Wind Component (m/s) | North-south wind component (m/s) | No |  | No
WEATHER_CURRENT_DATA | REH | 습도(%) | Humidity (%) | Humidity (%) | Maybe |  | No
WEATHER_CURRENT_DATA | PTY | 강수행태(T_CODE.WEATHER_PTY) | Precipitation Type | Precipitation type (T_CODE.WEATHER_PTY) | Maybe |  | No
WEATHER_CURRENT_DATA | VEC | 풍향(deg) | Wind Direction (deg) | Wind direction (degrees) | No |  | No
WEATHER_CURRENT_DATA | WSD | 풍속(m/s) | Wind Speed (m/s) | Wind speed (m/s) | No |  | No
WEATHER_CURRENT_DATA | REG_DATETIME | 등록일시 | Registration Time | Registration time | No |  | No